CHM 204

Title of Experiment: Mn in Steel

Names: Yehia Tfayli

Name of Partner: Mohamad Baker Berjawi

Zahraa Safeiddine

Date of Performance: Apr, 27th, 2010

Purpose:

- To measure the concentration of a solute by its absorbance of light.

- To learn how to use a spectrophotometer.

- To draw a calibration curve.

- Deduce the low concentration of an unknown (Mn) from the curve.

Theory:

- Spectrophotometry is a technique used to determine low concentration solutions, where the device is called colorimeter when the light is visible.

- 3 Mn  +2 HNO3- + 6 H+       3Mn2+ + 2 NO + 4 H2O

- Mn2+   Mn7+ + 5 e-

- During calibration, λ = 520 nm

- Refer to the Lab Manual for the rest information on page 98.

Procedure:

- Refer to the Lab Manual for the procedure on pages 98 and 99.

- Table of Data and results:

| Weight of steel sample | 0.96 g |
| --- | --- |
| mg/L Mn stock solution | 56.36 |

| mg/L standard Mn | 11 mg/L | 22 mg/L | 33 mg/L | 44 mg/L | Steel Sample |
| --- | --- | --- | --- | --- | --- |
| Absorbance | 0.388 | 0.837 | 1.200 | 1.861 | 2.340 |

- Method of Calculation:

- Plot the Absorbance (A) values vs mg/L Mn standard solutions

- Find from the calibration curve determine the concentration of the sample as mg/L Mn

From curve,

- A(30,1.18), b(40,1.62)

- y = ax + b ( 1.62 = 40a + b

1.18 = 30a + b

( a= 0.044 , b=-0.14

- y = 0.044x – 0.14

- For Mn sample, y = 2.340

- 2.340 = 0.044x – 0.14

- x = 56.36

- Thus, [Mn] in sample = 56.36 mg/L

- Determine the amount of Mn in the steel sample.

- Vsample = 250 ml

- 1000 ml -------------> 56.36 mg

250  ml --------------> x

- x = amount of Mn in the steel sample

= 250 × 56.36 / 1000

= 14.09 mg

- Find the % of Mn in the steel sample.

- N.B.:  % = 1.46 >> 0.5. This is due to some experimental errors mentioned later.

Sources of Error:

  - Improper measuring of the reagents’ masses and volumes.

  - Not enough boiling which lead to incomplete extraction of Mn and expelling of nitrogen oxides in the first boiling, and to incomplete release of carbon (CO2) in the second one.

  - Insufficient amount of ammonim persulfate.

  - Uncooling before filtrartion

  - Not calibrating the spectrometer.

  - Fingerprints on cuvette next to presence of air bubbles in it.

  - Uncompleted chemical reactions.

  - Using impure or contaminated reagents

  - Experimenter bias in reading the volumes and the wavelengths.

  - Improper mixing of the solution.