Name:

ID:

Pre-LAB 2:

Question 1:

The breadboard is a plastic perforated board on which we will build our circuits. The breadboard has many strips of metal which run underneath the board.

Question 2:

The Tektronix PS 280 power supply provides one fixed 5 Volt DC supply and two variable DC power supplies: a master output on the right hand side and a slave output on the left hand side. The voltages and the currents of the variable outputs are adjustable.

Question 3:

The Fluke 45 DMM can measure AC and DC voltages and AC and DC currents. Moreover, the DMM can measure resistance and diode voltage drop.

Question 4:

The function generator (HP Agilent 33120A) is a source of time-varying signals. It is capable of supplying three types of signals (square, triangle, and sine waves) with a variable frequency and a variable peak-to-peak voltage. It can also add to the signal a DC offset voltage, and can provide unequal duty cycles.

Question 5:

The Tektronix TDS220 oscilloscope is the device that can display the signals in the time domain. It can also provide a number of measurements related to the signal you are trying to analyze.