EECE 370

Single vs. Three-Phase

- Single-phase:

In electrical engineering, single-phase electric power refers to the distribution of electric power using a system in which all the voltages of the supply vary in unison. Single-phase distribution is used when loads are mostly lighting and heating, with few large electric motors.

The generation of AC electric power is commonly three phase, in which the waveforms of three supply conductors are offset from one another by 120°. Standard frequencies of single-phase power systems are either 50 or 60 Hz.

Single-phase loads may be connected to a three-phase system, either by connecting across two live conductors (a phase-to-phase connection), or by connecting between a phase conductor and the system neutral, which is either connected to the center of the Y (star) secondary winding of the supply transformer, or is connected to the center of one winding of a delta transformer (Highleg Delta system) (see transformer and Split phase ). Single-phase loads should be distributed evenly between the phases of the three-phase system for efficient use of the supply transformer and supply conductors.

- Three-phase:

Three-phase electric power is a common method of electric power transmission. It is a type of polyphase system mainly used to power motors and many other devices. A three-phase system uses less conductor material to transmit electric power than equivalent single-phase, two-phase, or direct-current systems at the same voltage.

In a three-phase system, three circuit conductors carry three alternating currents (of the same frequency) which reach their instantaneous peak values at different times. Taking one conductor as the reference, the other two currents are delayed in time by one-third and two-thirds of one cycle of the electrical current. This delay between "phases" has the effect of giving constant power transfer over each cycle of the current, and also makes it possible to produce a rotating magnetic field in an electric motor.

Three phase systems may or may not have a neutral wire. A neutral wire allows the three phase system to use a higher voltage while still supporting lower voltage single phase appliances. In high voltage distribution situations it is common not to have a neutral wire as the loads can simply be connected between phases (phase-phase connection).

- Advantages of three-phase loads:

Often the advantages of 3 phase motors, and other 3 phase equipment, make it smart and easily worthwhile to convert single-phase power to generate 3 phase with a Rotary Phase Converter. Small and large customers, such as residential, rural businesses, or farm properties may not have access to a 3 phase supply, or may not want to pay for the extra cost of a 3 phase service, but may still wish to use 3 phase equipment. Such 3 phase converters may also allow the frequency (see also frequency converters) to be varied allowing for different equipment frequency requirements (50Hz, 60Hz, 400Hz, etc.) and also for motor speed control (VFDs).  Some locomotives are driven by 3-phase motors with 3 phase converters converted from the incoming supply of either DC or 1 phase AC.   The two main types of 1 phase to 3 phase converters are Rotary Phase Converters and Static Phase Converters.